## Slide 1: Design of a highly Integrated Dew Point Mirror Hygrometer
Master Thesis
Midterm Presentation

## Slide 2: OVERVIEW - humidity
Amount of water in a gas
Described as absolute [kg/m³] or relative [%] value (to equilibrium)
Aim of this work: Development of a Dew Point Hygrometer
  cost-efficient
  yet highly accurate
[1]
Notes: Steigen wir direkt ein. Ein Taupunkthygrometer ist ein gerät zur bestimmung der Luftfeuchtigkeit. Die Luftfeuchtigkeit beschreibt erst einmal ganz generell die Menge an Wasserdampf in Luft

## Slide 3: OVERVIEW - HYGROMETER
Device for measurement of humidity
Different kinds: mechanical, electrical, optical, chemical
Most commonly used today:
Capacitive Sensor | Chilled Dewpoint Mirror
Capacitive measurement using a hygroscopic dielectric | Dew point temperature measurement using a cooled down mirror
+ cheap and small | + ±0.1% RH accuracy
- ±1% RH accuracy | - expensive and large
- long-term drift | - influence on measured gas

## Slide 4: Dew Point Mirror
Mirror integrated thermal sensors (RTD)
Peltier element for cooling
Optical readout of condensate (LED/PD)
Gas flow control
[2]

## Slide 5: ACCURACY REQUIREMENTS
ΔTdew = 0.2 °C
ΔTdew = 0.1 °C

## Slide 6: FIRST Iteration
Base PCB and Mirror FPC
3 different optical sensors:
  Integrated proximity sensors
  Discrete NIR LED and photodiode
4 different integrated temperature sensors
Peltier Element and Heatsink

## Slide 7: PERFORMED TESTS
Temperature Measurements
  Long-term over 1.5h for 27°C
  Short duration for 0°C – 60°C
Optical Readings
  Comparative
  With visible light source
Manual Regulation

## Slide 8: Second Iteration
Base PCB and Mirror FPC
Focus on proximity sensor as optical readout
Capacitive readout
Single temperature sensor type (AS6221)
Resistive heater
Air pressure readings

## Slide 9: Open Issues
Calibration and Test Setup
Validation of optical readout
Determination of accuracy in regards to error propagation
Evaluation criteria:
  Accuracy
  Precision
  Drift
  Repeatability

## Slide 10: SOURCES
[1] http://www.atmo.arizona.edu/students/courselinks/fall15/atmo170a1s2/lecture_notes/humidity/condensation_nuclei.html
[2] nach https://www.thunderscientific.com/calibration_support/